Stormwater Pollution Prevention

Plan

Borough of Kinnelon

Morris County

Permit Number #NJG0149781

Annual Review Date: July 31, 2024

Stormwater Program Coordinator: James J. Freda, Mayor

Table of Contents

Form 1 – Team Members	2

Form 2 – Revision History	3

Form 3 – Public Announcements	4

Form 4 – Post-Construction Stormwater Management in New Development and Redevelopment	5

Form 5 – Ordinances	7

Form 6 – Street Sweeping	8

Form 7 – MS4 Infrastructure	10

Form 8 – Community-wide Measures	15

Form 9 – Municipal Maintenance Yards & Other Ancillary Operations	16

Form 10 – Training	23

Form 11 – MS4 Mapping	27

Form 12 – Watershed Improvement Plan	28

# Form 1 – Team Members

| Stormwater Program Coordinator (SPC) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name and Title |  | James J. Freda, Mayor |  |  |  |  |
| Phone | 973-838-5401x212 |  | Email | jfreda@kinnelonboro.org |  |  |
| Individual(s) Responsible for Major Development Project Stormwater Management Review |  |  |  |  |  |  |
| Name and Title |  | Thomas Boorady, P.E., Borough Engineer |  |  |  |  |
| Phone | 973-835-8300x112 |  | Email | tab@darmofalski.com |  |  |
| Other Municipal Stormwater Team Members |  |  |  |  |  |  |
| Name and Title |  | Karen Iuele, Borough Clerk, Public Notice Coordinator, Local Public Education Coordinator, Local Public Education Coordinator |  |  |  |  |
| Phone | 973-838-5401x1 |  | Email |  | kiuele@kinnelonboro.org |  |
| Name and Title |  | John Whitehead, Director of Public Works, Public Works Coordinator, Employee Training Coordinator |  |  |  |  |
| Phone | 973-838-5401x234 |  | Email |  | jwhitehead@kinnelonboro.org |  |
| Name and Title |  |  | Brian Giblin, Esq., Borough Attorney, Ordinance Coordinator |  |  |  |
| Phone | 201-262-9500 |  | Email |  | info@giblinandgannaio.com |  |
| Name and Title |  |  | Leonard Perre, Construction Official |  |  |  |
| Phone | 973-838-7995 |  | Email |  | construction@bloomingdalenj.net |  |
| Shared/Contracted Service Providers |  |  |  |  |  |  |
| Provider Name |  | Service Provided |  |  |  | Term of Service |
| N/A |  |  |  |  |  |  |

# Form 2 – Revision History

| Revision Date | Form # Changed | Reason for Revision (Updates to staff, policy, webpage, etc.) |
| --- | --- | --- |
| 02/2005 | All forms | Initial Adoption |
| 10/2006 | All forms | Revision |
| 04/2007 | All forms | Revision |
| 04/2009 | All forms | Revision |
| 03/2207 | All forms | Revision |
| 07/2024 | All forms | SPPP was updated to current format |

# Form 3 – Public Announcements

Part IV.B. and C.

- Provide the link to the dedicated stormwater webpage for your municipality.

https://www.kinnelonboro.org/cn/webpage.cfm?TPID=8921

- List the name and title of person(s) responsible for stormwater webpage postings/updates.

Karen Iuele, Borough Clerk, Public Notice Coordinator, Local Public Education Coordinator

- List the newspapers, social media outlets, websites, direct mailings (Email or postal), and other communication approaches typically used to inform/educate the public on stormwater program information and related events/activities.

Appropriate advertisements for each public education and outreach event are decided on a case-by-case basis. Refer to the Local Public Education and Outreach Log for the methods of advertising. Educational material is distributed in the Kinnelon Recycling, Sanitation & Stormwater Information newsletter distributed yearly to every mailing address in the Borough. The text of the Illicit Connection and Improper Disposal of Waste are posted on the Borough Stormwater Page as well as on the Borough eCode service. Public education and outreach are maintained by the Borough Clerk’s office.

# Form 4 – Post-Construction Stormwater Management in New Development and Redevelopment

Part IV.E.

- How does the municipality define “major development”? If it is different from the definition in N.J.A.C. 7:8, explain the difference.

Borough Code §172-5 defines a Major Development as: MAJOR DEVELOPMENT A. An individual development, as well as multiple developments that individually or collectively result in: - The disturbance of one or more acres of land since February 2, 2004; - The creation of 1/4 acre or more of regulated impervious surface since February 2, 2004; - The creation of 1/4 acre or more of regulated motor vehicle surface since March 2, 2021, or the effective date of this chapter, whichever is earlier; or - A combination of Subsection A(2) and (3) above that totals an area of 1/4 acre or more. The same surface shall not be counted twice when determining if the combination area equals 1/4 acre or more. B. Major development includes all developments that are part of a common plan of development or sale (for example, phased residential development) that collectively or individually meet any one or more of Subsection A(1), (2), (3) or (4) above. Projects undertaken by any government agency that otherwise meet the definition of "major development" but which do not require approval under the Municipal Land Use Law, N.J.S.A. 40:55D-1 et seq., are also considered major development.

- Is the municipality’s stormwater control ordinance (SCO) the same as or more stringent than NJDEP’s model SCO? If more stringent, explain the difference.

The Borough’s stormwater control ordinance matches the NJDEP model SCO.

- Describe the process for reviewing major development project applications for compliance with the SCO and Residential Site Improvement Standards (RSIS).

Our planning and zoning boards ensure such compliance before issuing preliminary or final subdivision or site plan approvals under the Municipal Land Use Law. We ensure that all new major development and redevelopment projects that are subject to the Residential Site Improvement Standards (and Borough Stormwater Control Requirements) for stormwater management (including the NJDEP Stormwater Management rules, N.J.A.C. 7:8, referenced in those standards) are in compliance with those standards.

- Does your municipality have a mitigation plan included in your Municipal Stormwater Management Plan and Stormwater Control Ordinance? Indicate the location of records of all variances granted.

The MSWMP does not include a Mitigation Plan. The Borough Planning Board and Zoning Board of Adjustment do not grant variances or waivers from the Stormwater Control Ordinance (Chapter 172)

- Indicate the dates of each iteration of the township’s Stormwater Control Ordinance, starting with the initial adoption and including revisions.

February 2005 – Initial adoption October 2006 – Revision April 2007 – Revision August 2009 – Revision March 2020 - Revision April 2024 – Latest revision date

- Indicate the dates of each iteration of the township’s Municipal Stormwater Management Plan, starting with the initial adoption and including revisions.

June 2006 - Initial adoption February 2007 - Latest revision date.

# Form 5 – Ordinances

Part IV.F.1.

| Ordinance | Date Adopted | Was the DEP model adopted without change? If not, explain how the municipality’s is more stringent. | Entity Responsible for Enforcement | Fees & Fines |
| --- | --- | --- | --- | --- |
| - Pet Waste | 12/15/2005 | Yes | Borough Animal Control Officer/ Police Department | $1,000 |
| - Wildlife Feeding | 12/15/2005 | Yes | Borough Animal Control Officer/ Police Department | $1,000 |
| - Litter Control | 12/15/2005 | Yes | Police Department | $1,000 |
| - Improper Disposal of Waste | 12/15/2005 | Yes | Police Department | $1,000 |
| - Yard Waste | 03/20/2008 | Yes | Police Department | $1,000 |
| - Private Storm Drain Inlet Retrofitting | 3-18-2010 | Yes | Police Department | $1,000 |
| - Illicit Connections | 12/15/2005 | Yes | Police Department/Public Works Department | $1,000 |
| - Privately-Owned Salt Storage |  | Yes |  | $___ |
| - Tree Removal-Replacement | 10-15-15 | Yes | Borough Forester | $1,000 |
| List any additional stormwater-related ordinances the municipality has adopted that address issues beyond the scope of the MS4 permit. Include adoption date, entity responsible for enforcement, and related fees and fines. |  |  |  |  |
| N/A |  |  |  |  |
| Indicate the location of records associated with ordinances and related violations and enforcement actions below. |  |  |  |  |
| Records are maintained by the Police Department |  |  |  |  |

# Form 6 – Street Sweeping

Part IV.F.2.a.i. and ii.

- Provide a written description and/or attach a map outlining the sweeping schedule for the following: - Segments of municipal roads with storm drain inlets that discharge to surface water (required at least 3 times each year) - Segments of municipal roads that do not have storm drain inlets but do discharge to surface water (required at least 1 time each year) Note: Only asphalt and concrete roads need to be swept. Roads that do not have storm drain inlets and do not discharge to surface water do not need to be swept.

The Borough of Kinnelon has little to no roads that are required to be swept per the NJPDES permit. All roads within the Borough are swept four times per year between March and September. Records are maintained by the Department of Public Works.

- Indicate if sweeping work is outsourced and if so, describe the arrangement.

N/A

# Form 7 – MS4 Infrastructure

Part IV.F.2-4. and Part IV.G.2-3.

- Municipal Storm Drain Inlets - Describe how you ensure that municipal inlets without permanent wording cast into the design have been properly labelled. - Describe how you ensure that municipal and private storm drain inlets have been retrofitted. - Describe how you ensure that newly installed storm drain inlets include corresponding catch basins or other BMPs to collect solids. - Describe when and how you conduct inspections of storm drain inlets and the criteria used to determine when they need to be cleaned.

- Inlets that are not in compliance with Title 7 of the New Jersey Administrative Code are replaced accordingly, with either a new casting with proper markings or with medallions during regular DPS operations or annual inspections. During the annual catch basin cleaning program, labels for storm drain inlets are checked to ensure that they are still visible, and if they are not, the labels are replaced immediately. - The Superintendent of Public Works oversees all road projects within the Borough. They are on site overseeing the work daily. The Borough maintains a small stock of Bicycle-safe grates and Type B curb inlets that are used to replace inlets during paving. Privately owned storm drain inlets are required to be retrofitted per Borough Code §152 only if the person in control of private property is repaving, repairing, resurfacing, reconstructing or altering any surface that is in direct contact with an existing storm drain inlet. The Borough Zoning Officer is responsible for the enforcement of retrofitting of storm drain inlets. New developments and redevelopments are under the authority of the Planning Boards and Zoning Board of Adjustment. The Borough Engineer also acts as the Board Engineers and reviews the Site Plan for conformance with the retrofit ordinance. The Borough Engineer then inspects the completed work prior to the issuance of a Certificate of Occupancy. The Borough Zoning Officer is responsible for the enforcement of retrofitting of storm drain inlets on privately owned storm drains that do not appear in front of either Boards. - The Borough Construction Official and/or the Borough Engineer inspect all storm drain inlets at the completion of any paving. - The Borough has an annual catch basin and storm drain cleaning program to maintain function and efficiency. All catch basins are inspected at least once each year. At the time of inspection, if no sediment, trash or debris is observed in the catch basin, then that catch basin will not be cleaned. All catch basins will be inspected yearly, even if they were found to be “clean” the previous year. At the time of cleaning, the catch basins will also be inspected for proper function. Maintenance will be scheduled for those catch basins that are in disrepair.

- Municipal Catch Basins - Describe when and how you conduct inspections of catch basins. - Describe the criteria used to determine when catch basins need to be cleaned.

The Borough has an annual catch basin and storm drain cleaning program to maintain function and efficiency. All catch basins are inspected at least once each year. At the time of inspection, if no sediment, trash or debris is observed in the catch basin, then that catch basin will not be cleaned. All catch basins will be inspected yearly, even if they were found to be “clean” the previous year. At the time of cleaning, the catch basins will also be inspected for proper function. Maintenance will be scheduled for those catch basins that are in disrepair. Please see the annual catch basin cleaning report.

- Municipal Conveyance System Describe when and how inspections of MS4 conveyance systems are conducted, and the criteria used to determine when they need to be cleaned. Include a description of the equipment and techniques used.

MS4 conveyance systems are inspected during annual inspections and or during municipal, county or state road resurfacing projects and cleaned when deemed necessary by the DPW.

- Municipal Outfall Inspections – Stream Scouring Describe the program in place to detect, investigate, and control localized stream scouring from stormwater outfalls. Include a description of the equipment and techniques used.

All outfall pipes are checked when inspections are being made for illicit connections. All sites are placed on a prioritized list and repairs are made in accordance with the Standards for Soil Erosion and Sediment Control in New Jersey. All repairs are inspected annually to ensure scouring has not resumed. A list is attached of all sites with outfall pipe stream scouring, the date the planned repair is scheduled, and the method of repair proposed. When repairs are complete, they will be noted as such in the list. When outfalls where scour is detected are within the jurisdiction of the Borough but not owned or operated by the Borough, the person responsible for the maintenance of outfall is notified immediately and is given a time period of one year in which to make the necessary repair.

- Municipal Outfall Inspections – Illicit Discharge Detection and Elimination Describe the program in place for conducting visual dry weather inspections of municipally owned or operated outfalls. Include a description of the equipment and techniques used. Record cases of illicit discharges using the DEP’s Illicit Connection Inspection Report Form from the Department’s main stormwater webpage.

We conduct an annual physical inspection of all our outfall pipes. We use the DEP Illicit Connection Inspection Report Form to conduct these inspections, and each of these forms are kept with our SPPP records. Outfall pipes that are found to have dry weather flow or evidence of an intermittent non-stormwater flow are rechecked again to locate the illicit connection. If we can locate the illicit connection and the connection is within the Borough, we cite the responsible party for being in violation of our Illicit Connection Ordinance, and we have the collection eliminated immediately. If, after the appropriate amount of investigation, we are unable to locate the source of the illicit connection, we submit the Closeout Investigation Form with our Annual Inspection and Recertification. If an illicit connection is found to originate from another public entity, the Borough reports the connection to the Department.

- Other Municipal Infrastructure List the types of MS4 infrastructure in your town that require inspection but are not noted above in items 1-5. Describe when and how you conduct inspections of this infrastructure and the criteria used to determine when they need to be maintained and/or cleaned.

N/A.

- Stormwater Facilities Not Owned or Operated by the Municipality Describe your program for ensuring adequate long-term cleaning, operation, and maintenance of stormwater facilities not owned or operated by the municipality. This should include your plan for ensuring annual inspections are being done on these private properties and describe how you record the locations and logs associated with private infrastructure.

N/A.

- Infrastructure Records Indicate the location of records related to stormwater infrastructure inspection, cleaning, maintenance, and repair activities.

Records are kept by the Department of Public Works.

# Form 8 – Community-wide Measures

Part IV.F.2.

- Herbicide Application Management Describe your program for preventing herbicides from being washed into the waters of the State and to prevent erosion caused by de-vegetation.

DPW does not use herbicides. All roadside vegetation is weed-wacked only.

- Excess Deicing Material Management Describe your program for ensuring that excess salt piles are removed in a timely manner after storm events.

All salt and de-icing material are stored in permanent structures. Best Management Practices as listed in the previous SPPP submission to the NJDEP for Salt De-Icing and Material Storage and Handling are posted at DPW facilities. The DPW Superintendent is responsible for enforcement. The Borough has also revised Chapter XX of the Borough Ordinance to include the required regulations set forth by the NJDEP for privately owned salt storage. DID Kinnelon PASS SALT ORDINANCE? I DON’T SEE IT.

- Roadside Vegetative Waste Describe your program for ensuring proper pickup, handling, storage, and disposal of wood waste and yard trimmings generated by the permittee along municipal roads or on municipal properties (trimming trees, mowing, etc.).

DPW does not use herbicides. All roadside vegetation is weed-wacked only.

- Roadside Erosion Control Describe your program to detect and repair erosion along municipal roadways.

Inspections are performed by the Kinnelon DPW.

# Form 9 – Municipal Maintenance Yards & Other Ancillary Operations

Part IV.F.5.

Please complete a separate Form 9 for each yard or site. Indicate the number of yards/sites the municipality owns or operates:  _____

| - Site Name and Address |  |
| --- | --- |
| Address of municipal yard or ancillary operation: 118 Kinnelon Road Kinnelon, NJ 07405 |  |
| - Monthly Site Inspections Describe the nature of inspections conducted at this site and the location of inspection logs. |  |
| - Inventory List List all materials and machinery that are potentially exposed to stormwater. |  |
| Materials | Machinery/Equipment |
| - Discharge of Stormwater from Secondary Containment Describe the process in place for discharging stormwater from secondary containment areas where outdoor containers are stored. |  |
| - Fueling Operations Does fueling occur on site? If so, describe the BMPs in place to minimize contamination of stormwater from fueling activities. If not, explain where fueling takes place. |  |
| - Vehicle/Equipment Maintenance and Repair Do you perform maintenance and repair on site? Is this conducted indoors or outdoors? If outdoors, describe the BMPs in place to minimize contamination of stormwater from maintenance and repair activities. |  |
| - Wash Wastewater Containment Do you wash vehicles on site? If so, describe the BMPs in place to minimize contamination of stormwater from these activities. Note that on site containment structures require annual inspections by a NJ licensed professional engineer. If not, explain where vehicle washing takes place. |  |
| - Salt and Other Granular De-icing Materials Do you store salt and other granular deicing materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Aggregate Material, Wood Chips, and Finished Leaf Compost Do you store these materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Cold Patch Asphalt Do you store these materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Street Sweepings and Storm Sewer Cleanout Materials Do you store these materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Construction and Demolition Waste, Wood Waste, and Yard Trimmings Do you store these materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Scrap Tires Do you store these materials on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater from these materials. If not, explain where these materials are stored. |  |
| - Inoperable Vehicles and Equipment Do you store inoperable vehicles or equipment on site? If so, describe how they are stored and the BMPs in place to minimize contamination of stormwater. If not, explain where they are stored. |  |

Form 10 – Training

Part IV.F.6-10.

Stormwater Program Coordinators

Describe the training provided for the municipal Stormwater Program Coordinator.

James J. Freda (Stormwater Program Coordinator) attends NJDEP training every permit cycle. Training covers the requirements of the Stormwater Program Coordinator and responsibilities of the Borough to comply with NJDEP regulations.

| Topic | Municipal Employees Examples: in-person or virtual group sessions, e-Learning, field trainings, and videos |
| --- | --- |
| Describe the training provided for municipal staff. |  |
| SPPP | Kinnelon trains staff whose job duties support the stormwater program. |
| Construction Site Stormwater Runoff | Thomas Boorady, PE (Borough Engineer) is trained annually on related MS4 permit conditions. Mr. Boorady ensures all property owners within the Borough comply with all NJDEP stormwater regulations and performs inspections of construction projects. |
| Post-Construction Stormwater Management in New and Redevelopment | The Borough ensures that it’s definition of a “Major Development” set forth in Borough Code §172-5 is enforced and followed throughout the Borough. |
| Community-wide Ordinances | All Borough staff responsible impending all community wide ordinances receive annual training on related MS4 permit conditions. |
| Community-wide Measures | Karen Iuele (Borough Clerk and Public Notice Coordinator) conducts all activities associated with community wide measures and attends annual training that discusses MS4 permit requirements and town specific measures. |
| Stormwater Facilities Maintenance | The Borough has an annual catch basin and storm drain cleaning program to maintain function and efficiency. All catch basins are inspected at least once each year. At the time of inspection, if no sediment, trash or debris is observed in the catch basin, then that catch basin will not be cleaned. All catch basins will be inspected yearly, even if they were found to be “clean” the previous year. At the time of cleaning, the catch basins will also be inspected for proper function. Maintenance will be scheduled for those catch basins that are in disrepair. |
| Municipal Maintenance Yards and Other Ancillary Operations | The Department of Public Works Superintendent ensures Best management Practices are followed and meet NJDEP standards. |
| MS4 Mapping | Maps will be submitted to the department once complete. |
| Outfall Stream Scouring | All outfall pipes are checked when inspections are being made for illicit connections. All sites are placed on a prioritized list and repairs are made in accordance with the Standards for Soil Erosion and Sediment Control in New Jersey. All repairs are inspected annually to ensure scouring has not resumed. Inspectors input information into the Stream Scour and Illicit Connection Inspection Log (IV.B.6.b. & c.). Records are maintained by the Public Works Superintendent. A list is attached of all sites with outfall pipe stream scouring, the date the planned repair is scheduled, and the method of repair proposed. When repairs are complete, they will be noted as such in the list. When outfalls where scour is detected are within the jurisdiction of the Borough but not owned or operated by the Borough, the person responsible for the maintenance of outfall is notified immediately and is given a time period of one year in which to make the necessary repair. |
| Illicit Discharge Detection and Elimination | We conduct an annual physical inspection of all our outfall pipes. We use the DEP Illicit Connection Inspection Report Form to conduct these inspections, and each of these forms are kept with our SPPP records. Outfall pipes that are found to have dry weather flow or evidence of an intermittent non-stormwater flow are rechecked again to locate the illicit connection. If we can locate the illicit connection and the connection is within the Borough, we cite the responsible party for being in violation of our Illicit Connection Ordinance, and we have the collection eliminated immediately. If, after the appropriate amount of investigation, we are unable to locate the source of the illicit connection, we submit the Closeout Investigation Form with our Annual Inspection and Recertification. If an illicit connection is found to originate from another public entity, the Borough reports the connection to the Department. |

Stormwater Management Design Reviewers

Describe the training provided for individuals responsible for reviews and approvals of stormwater management designs.

Thomas Boorady, PE (Borough Engineer) is responsible for reviewing and approving stormwater management designs for major developments within the Borough is trained annually on related MS4 permit conditions. He also attends the NJDEP Stormwater Management Design Review course at least once every 5 years.

Municipal Board and Governing Body Members

Describe the training provided for members of the planning/zoning board and municipal council.

All Board members and Municipal Council members watch all required NJDEP training videos that are required under the MS4 permit within 6 months of joining.

Training Records

Indicate the location of training records for the above required training.

Logs of all training are kept in the municipal clerk’s office.

# Form 11 – MS4 Mapping

Part IV.G.1.

| - Provide a link to the most current MS4 outfall/infrastructure map. |  |
| --- | --- |
| The Borough will perform all MS4 Mapping prior to the required EDPA set forth by the NJDEP. |  |
| - Indicate the total of each type of MS4 infrastructure listed below (due 01 Jan 2026). |  |
| - MS4 outfalls | TBD by 1/1/2026 |
| - MS4 ground water discharge points (basins or overland flow infiltration areas) | TBD by 1/1/2026 |
| - MS4 interconnections | TBD by 1/1/2026 |
| - MS4 storm drain inlets | TBD by 1/1/2026 |
| - MS4 manholes | TBD by 1/1/2026 |
| - Length of conveyance (channels, pipes, ditches, etc.) | TBD by 1/1/2026 |
| - MS4 pump stations | TBD by 1/1/2026 |
| - MS4 stormwater facilities (any that are not listed above) | TBD by 1/1/2026 |
| - Maintenance yard(s) and other ancillary operations | TBD by 1/1/2026 |
| - Describe how the municipality’s outfall/infrastructure map is reviewed and updated to reflect any new or newly identified MS4 infrastructure (e.g., an outfall is closed, a new basin is constructed, ownership of an outfall has changed, etc.). |  |
| TBD by 1/1/2026 |  |
| - Describe how the municipality will create and update its MS4 Infrastructure Map. |  |
| TBD by 1/1/2026 |  |

# Form 12 – Watershed Improvement Plan

Part IV.H.

- Describe how your municipality is developing its Watershed Improvement Plan.

Kinnelon is gathering data to meet the requirements for the phase 1, Watershed Inventory Report, which is due and will be posted on our stormwater webpage by 01/01/2026.

- Describe any regional projects or collaboration efforts with other municipalities.

The Borough does not have any regional or collaboration efforts with other municipalities.

- Indicate the location of records related to all public information sessions and meetings for discussions of the Watershed Improvement Plan.

The municipal clerk’s office.